## Slide 1: MERSCOPE Overview
Based on multiplexed error-robust FISH (MERFISH)
100 nm resolution
Up to 500 gene targets
1 cm2 imaging area
Data returned as table of molecule coordinates
Results can be explored in Vizgen’s Vizualizer GUI
After segmentation, compatible with most spatial analysis workflows
Notes: Is custom staining an option?
Sensitivity?~
NBL experiment raw = 10TB
final result = 3.4GB
MERSCOPE has built-in segmentation (watershed)

## Slide 2
MERSCOPE QC
Notes: MERSCOPE QC

## Slide 3
MERSCOPE QC

## Slide 4: DAPI + Poly-T stain
DEMO
NBL
Notes: DAPI + PolyT signal are blown out. However, this is something we can now fix

## Slide 5
DAPI + Poly-T stain, NBL
Notes: The polyT stain worked better than DAPI. Somewhat useful for segmentation, but folds in the tissue (or other technical problems) created gaps of low quality resolution/data (right image)

## Slide 6: Boundary staining
Notes: Cocktail of three proprietary Ab’s

## Slide 7: Segmentation options
Mesmer
Baysor
  “segmentation-free”
  On a molecule-to-molecule basis, the composition of the molecular neighborhood is used to determine the likelihood of nearby molecules belonging to the same cell
Other…
Notes: Does not use pixels or pre-trained models to identify cells, hence “segmentation-free”

## Slide 8: Baysor QC, signal/noise
Notes: Histogram units are in micrometer

## Slide 9
Baysor QC, signal/noise
Full manifold
Zoom

## Slide 10: Segmentation summary
 | Demo | NBL
# Probes | 135 | 398
Genes/cell, Q25 | 11 | 29
Genes/cell, Q50 | 21 | 65
Genes/cell, Q75 | 36 | 104
Counts/cell, Q25 | 25 | 46
Counts/cell, Q50 | 79 | 152
Counts/cell, Q75 | 192 | 329
Notes: Baysor segmentation does require parameter tuning and evaluation. Can be tedious, but Baysor is pretty robust.
Q=quantile

## Slide 11: Clustering
Notes: Data were normalized to 1000 total counts/cell; log1p scaled
Large cluster on left is adrenergic

## Slide 12
Baysor segmentation results

## Slide 13
Baysor segmentation results
Notes: Convex hull of cell labels, overlaid on boundary stain

## Slide 14: Baysor segmentation results
Notes: Noise is determined by sparsity.
At this point, data is portable to pretty much any other analysis workflow

## Slide 15
Baysor segmentation results
Notes: Molecules colored by neighborhood composition vector (NCV). Can see more subcellular patterns of gene coexpression

## Slide 16: Next steps…
Define cellular neighborhoods
Cluster TAMs based on cell interaction; differential expression
Investigate gene localization at TAM-[cell] interface